Notice of Drinking Water Gross Alpha Particle Violation. The Texas Commission on Environmental Quality has notified the City of Mason water system that the drinking water supplied to customers  has exceeded  the Maximum  Contaminant Level (MCL) for gross alpha excluding  radon and uranium. The U.S. Environmental Protection Agency has established the MCL for gross alpha excluding  radon and uranium

at 15 pico curies per liter (pCi/L) based on a running annual average,  and has determined  that it is a health concern at levels above the MCL. Analysis of drinking water in your community for gross alpha excluding  radon and uranium indicates a compliance  value of 16 pCi/L. This is not an emergency. Certain minerals  are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing  alpha emitters in excess of the MCL over many years have an increased risk of getting dmcer. You do not need to use an alternative water supply. However,  if you have health problems  you may want to talk to your doctor to get more information  about how this may affect you. The City is working to correct the problem through active management and monitoring of the individual wells and pumping  schedules and is considering new possibilities  for non-contaminated water sources. A centrally located reverse osmosis dispensing  station has been provided at 1024

McKinley Ave to provide treated water at no cost to the residents of Mason. Please share this

information  with all people who drink this water, especially those who may not have received this notice directly (people in apartments, nursing homes, schools and businesses). You can do this by posting this notice in a public place or distributing  it by hand or mail. If you have questions call John Palacio at 325

347-6449. Public Water System 10 1600001.